## Cover
SSE plc Investor Databook
Last updated May 2026
Prepared on a best endeavours basis
Please contact ir@sse.com with any questions
Table of Contents (Linked)
SSE Renewables - Wind asset list
SSE Renewables - Hydro asset list
SSE Renewables output
SSE Renewables project pipeline
SSE Thermal asset list and pipeline
SSE Thermal output
GB Capacity Market contract payments
Irish Capacity Market contract payments
SSEN Transmission - RIIO-T2 & RIIO-T3 parameters
SSEN Distribution - RIIO-ED2

## Wind Assets
SSE Operational Wind Capacity
Accurate as at 28 May 2026
| All Capacity | ROC | CfD | REFIT
Onshore (GB) - MW | 1728.4692 | 1247.4691 | 443 | 0
Onshore (NI) - MW | 117.1 | 117.1 | 101 | 0
Onshore (ROI) - MW | 696.355 | 0 | 0 | 168.85
Onshore (Europe) - MW | 91.8 | 0 | 0 | 0
Offshore (GB) - MW | 1013.95 | 252 | 457.66 | 0
Total Wind - MW | 3647.6741 | 1616.5691 | 1001.66 | 168.85
Wind farms | Country | Onshore/ Offshore | Capacity (MW) | No. Turbines | SSE Stake (%) | SSE Stake (MW) | JV partner | SSE Operated | ROC contract (MW, SSE share) | ROCs end date | CfD (MW) | Cfd Price £/MWh | CfD end date | REFIT (MW) | Re-Fit End Date | Notes
Achany | Scotland | Onshore | 38 | 19 | 100% | 38 | n/a | Yes | 38 | 2030-06-18 | n/a | n/a | n/a | 0 | n/a
Artfield Fell | Scotland | Onshore | 19.5 | 15 | 100% | 19.5 | n/a | Yes | 19.5 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Balmurrie Fell | Scotland | Onshore | 9.1 | 7 | 100% | 9.1 | n/a | Yes | 9.1 | 2032-07-03 | n/a | n/a | n/a | 0 | n/a
Bhlaraidh | Scotland | Onshore | 108 | 32 | 100% | 108 | n/a | Yes | 108 | 2037-03-02 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MWh
Cathkin Braes | Scotland | Onshore | 3 | 1 | 100% | 3 | n/a | Yes | 3 | 2033-03-22 | n/a | n/a | n/a | 0 | n/a
Clyde (original) | Scotland | Onshore | 349.6 | 152 | 50.1% | 175.1496 | Greencoat 28.2%, GLIL 21.7% | Yes | 175.1496 | Jul-31 - Aug-32 | n/a | n/a | n/a | 0 | n/a
Clyde Extension | Scotland | Onshore | 172.8 | 54 | 50.1% | 86.5728 | Greencoat 28.2%, GLIL 21.7% | Yes | 86.5728 | Oct-36 - Jan-37 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MWh
Drumderg | Scotland | Onshore | 36.8 | 16 | 100% | 36.8 | n/a | Yes | 36.8 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Dunmaglass | Scotland | Onshore | 94.05 | 33 | 50.1% | 47.1191 | Greencoat 49.9% | Yes | 47.1191 | 2036-09-13 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MWh
Fairburn | Scotland | Onshore | 40 | 20 | 100% | 40 | n/a | Yes | 40 | 2029-10-14 | n/a | n/a | n/a | 0 | n/a
Gordonbush | Scotland | Onshore | 70 | 35 | 100% | 70 | n/a | Yes | 70 | 2031-12-13 | n/a | n/a | n/a | 0 | n/a
Gordonbush extension | Scotland | Onshore | 38 | 11 | 100% | 38 | n/a | Yes | - | n/a | n/a | n/a | n/a | 0 | n/a
Griffin | Scotland | Onshore | 156.4 | 68 | 100% | 156.4 | n/a | Yes | 156.4 | 2031-07-05 | n/a | n/a | n/a | 0 | n/a
Calliachar | Scotland | Onshore | 32.2 | 14 | 100% | 32.2 | n/a | Yes | 32.2 | 2033-03-15 | n/a | n/a | n/a | 0 | n/a
Hadyard Hill | Scotland | Onshore | 119.6 | 51 | 100% | 119.6 | n/a | Yes | 119.6 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Spurness | Scotland | Onshore | 10 | 5 | 100% | 10 | n/a | Yes | 10 | 2032-10-22 | n/a | n/a | n/a | 0 | n/a
Strathy North | Scotland | Onshore | 67.65 | 33 | 100% | 67.65 | n/a | Yes | 67.65 | 2035-06-26 | n/a | n/a | n/a | 0 | n/a
Stronelairg | Scotland | Onshore | 227.7 | 66 | 50.1% | 114.0777 | Greencoat 49.9% | Yes | 114.0777 | 2037-03-31 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MWh
Tangy | Scotland | Onshore | 12.75 | 15 | 100% | 12.75 | n/a | Yes | 12.75 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Tangy Ext | Scotland | Onshore | 5.95 | 7 | 100% | 5.95 | n/a | Yes | 5.95 | 2029-03-19 | n/a | n/a | n/a | 0 | n/a
Viking | Scotland | Onshore | 443 | 103 | 100% | 443 | n/a | Yes | - | - | 443 | see notes |  |  | n/a | 100% under 15-year indexed CfD secured at £46.39 (50%) and £52.29/MWh (50%) in 2012 prices
Toddleburn | Scotland | Onshore | 27.6 | 12 | 100% | 27.6 | n/a | Yes | 27.6 | 2030-02-12 | n/a | n/a | n/a | 0 | n/a
Keadby | England | Onshore | 68 | 34 | 100% | 68 | n/a | Yes | 68 | 2033-09-13 | n/a | n/a | n/a | 0 | n/a
Bessy Bell 2 | Northern Ireland | Onshore | 9 | 6 | 100% | 9 | n/a | Yes | 9 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Glenconway | Northern Ireland | Onshore | 18.4 | 8 | 100% | 18.4 | n/a | Yes | 18.4 | 2033-03-16 | n/a | n/a | n/a | 0 | n/a
Glenconway 2 | Northern Ireland | Onshore | 27.6 | 12 | 100% | 27.6 | n/a | Yes | 27.6 | 2033-03-16 | n/a | n/a | n/a | 0 | n/a
Slieve Kirk | Northern Ireland | Onshore | 27.6 | 12 | 100% | 27.6 | n/a | Yes | 27.6 | 2031-10-26 | n/a | n/a | n/a | 0 | n/a
Tievenameenta | Northern Ireland | Onshore | 34.5 | 15 | 100% | 34.5 | n/a | Yes | 34.5 | 2036-10-09 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MWh
Athea | Rep. of Ireland | Onshore | 34.35 | 16 | 100% | 34.35 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 34.4 | 2028-10-14
Bindoo | Rep. of Ireland | Onshore | 48 | 32 | 100% | 48 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Boggeragh Wind farm | Rep. of Ireland | Onshore | 57 | 19 | 47.5% | 27.075 | Craydel ltd 47.5%; 5% other | No | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Coomacheo | Rep. of Ireland | Onshore | 41.4 | 18 | 100% | 41.4 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Coomatalin | Rep. of Ireland | Onshore | 6 | 4 | 100% | 6 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Corneen | Rep. of Ireland | Onshore | 3 | 2 | 100% | 3 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Culliagh | Rep. of Ireland | Onshore | 11.88 | 18 | 100% | 11.88 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Curragh | Rep. of Ireland | Onshore | 18.4 | 8 | 100% | 18.4 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Dromada | Rep. of Ireland | Onshore | 28.5 | 19 | 100% | 28.5 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Dunneill | Rep. of Ireland | Onshore | 11.05 | 13 | 100% | 11.05 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 11 | 2025-07-26
Galway (CGT) | Rep. of Ireland | Onshore | 66 | 22 | 100% | 66 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 64 | 2032-06-01
Galway (Cloosh) | Rep. of Ireland | Onshore | 108 | 36 | 25% | 27 | Greencoat 75% | Yes | 0 | n/a | n/a | n/a | n/a | 26.25 | 2032-10-01
Gartnaneane | Rep. of Ireland | Onshore | 15 | 10 | 100% | 15 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a
Kingsmountain | Rep. of Ireland | Onshore | 25 | 10 | 100% | 25 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a
Knockastanna | Rep. of Ireland | Onshore | 6 | 4 | 100% | 6 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Lenalea | Rep. of Ireland | Onshore | 30.1 | 7 | 100% | 30 | FuturEnergy Ireland 50% | Yes | - | n/a | n/a | n/a | n/a | n/a | n/a | Under long-term CPPA with Microsoft
Leanamore | Rep. of Ireland | Onshore | 18 | 9 | 100% | 18 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 20.7 | 2032-12-31
Meentycat | Rep. of Ireland | Onshore | 72.4 | 38 | 100% | 72.4 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | n/a | n/a
Meentycat (Meenbog Ext) | Rep. of Ireland | Onshore | 6.9 | 3 | 100% | 6.9 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Meentycat (Cark Ext) | Rep. of Ireland | Onshore | 9.2 | 4 | 100% | 9.2 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Midas Windfarm | Rep. of Ireland | Onshore | 32.45 | 23 | 49% | 16.2 | Craydel ltd 51% | No | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Mullananalt | Rep. of Ireland | Onshore | 7.5 | 5 | 100% | 7.5 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Rathcahill | Rep. of Ireland | Onshore | 12.5 | 5 | 100% | 12.5 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 12.5 | 2026-07-01
Richfield | Rep. of Ireland | Onshore | 27 | 18 | 100% | 27 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Tournafulla 1 | Rep. of Ireland | Onshore | 7.5 | 5 | 100% | 7.5 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Tournafulla 2 | Rep. of Ireland | Onshore | 19.5 | 13 | 100% | 19.5 | n/a | Yes | 0 | n/a | n/a | n/a | n/a | 0 | n/a
Yellow River | Rep. of Ireland | Onshore | 101 | 29 | 100% | 101 | n/a | Yes |  | n/a | 101 | see notes |  | 0 | n/a | 100% under RESS scheme contract for up to 16.5 years
Chaintrix | France | Onshore | 27.8 | 8 | 100% | 27.8 | n/a | Yes | - | n/a | n/a | n/a | n/a | n/a | n/a | Under long-term CPPA
Jubera I & II | Spain | Onshore | 64 | 11 | 100% | 64 | n/a | Yes | - | n/a | n/a | n/a | n/a | n/a | n/a | Completion May 2026
Seagreen | Scotland | Offshore | 1075 | 114 | 49% | 526.75 | Total (25.5%), PTTEP (25.5%) | Yes | - | n/a | 222.46 | 41.61 | 2043-03-31 | 0 | n/a | Cfd in 2012 prices inflated by CPI. Note, there are 3 ACFD's in place, no CFD.
Beatrice | Scotland | Offshore | 588 | 84 | 40% | 235.2 | TRIG 17.5%, Equitix 17.5%, Red Rock 25% | Yes | 0 | n/a | 235.2 | 140 | 2034-04-30 | 0 | n/a | Cfd in 2012 prices inflated by CPI
Greater Gabbard | England | Offshore | 504 | 140 | 50% | 252 | RWE 50% | Yes | 252 | Oct-31/Aug-32 |  | n/a | n/a | 0 | n/a | ROC at 2/MWh
Total |  |  | 5349.23 |  |  | 3647.6742 |  |  | 1616.5691 |  | 1001.66 |  |  | 168.85
Notes
Prepared on best endeavours basis

## Hydro & BESS Assets
SSE Hydro & BESS Capacity
Accurate as at 31 March 2026
| All Capacity | ROC | Capacity Market
Conventional Hydro | 1164.025
Breakdown:
Run of River | 400
Flexible Running | 764 |  | 660
Pumped Storage | 300 |  | 300
BESS & Solar | 231
Total SSE Hydro & BESS (MW) | 1695 | 502.355 | 960MW de-rated to ~900MW
Hydro Station | Location | Cascade | Installed MW | ROC contract | ROCS end date** | Eligible to Enter Capacity Market on an Ongoing Basis*
Achanalt | Scotland | Conon Shin Affric Beauly | 3 | 3 | 2027-03-31 |  | 3 | 0 | 3 | 0
Aigas | Scotland | Conon Shin Affric Beauly | 20 | 20 | 2027-03-31 |  | 20 | 0 | 20 | 0
Beannachran | Scotland | Conon Shin Affric Beauly | 0.16 | 0.16 | 2027-03-31 |  | 0.16 | 0 | 0.16 | 0
Cassley | Scotland | Conon Shin Affric Beauly | 9.9 | 9.9 | 2027-03-31 |  | 9.9 | 0 | 10 | -0.1
Cuileig | Scotland | Conon Shin Affric Beauly | 3.2 | 3.2 | 2027-03-31 |  | 3.2 | 0 | 3.2 | 0
Culligran Comp Set | Scotland | Conon Shin Affric Beauly | 2.1 | 2.1 | 2027-03-31 |  | 2.1 | 0 | 2.1 | 0
Culligran Unit 2 | Scotland | Conon Shin Affric Beauly | 17 | 17 | 2027-03-31 |  | 17 | 0 | 17 | 0
Deanie | Scotland | Conon Shin Affric Beauly | 38 | 0 | n/a | Yes | 38 | 0 | 38 | 0
Duchally | Scotland | Conon Shin Affric Beauly | 0.44 | 0.44 | 2027-03-31 |  | 0.44 | 0 | 0.45 | -0.01
Fasnakyle Compset | Scotland | Conon Shin Affric Beauly | 7.5 | 7.5 | 2027-03-31 |  | 7.5 | 0 | 7.5 | 0
Fasnakyle Power Station | Scotland | Conon Shin Affric Beauly | 69 | 0 | n/a | Yes | 69 | 0 | 69 | 0
Grudie Bridge | Scotland | Conon Shin Affric Beauly | 18.66 | 18.66 | 2027-03-31 |  | 18.66 | 0 | 18.66 | 0
Kilmorack | Scotland | Conon Shin Affric Beauly | 20 | 20 | 2027-03-31 |  | 20 | 0 | 20 | 0
Lairg | Scotland | Conon Shin Affric Beauly | 4 | 4 | 2027-03-31 |  | 4 | 0 | 3.5 | 0.5
Luichart Dam | Scotland | Conon Shin Affric Beauly | 0.085 | 0.085 | 2027-03-31 |  | 0.085 | 0 | 0.085 | 0
Luichart Power Station | Scotland | Conon Shin Affric Beauly | 34 | 0 | n/a | Yes | 34 | 0 | 34 | 0
Meig Dam | Scotland | Conon Shin Affric Beauly | 0.076 | 0.076 | 2027-03-31 |  | 0.076 | 0 | 0.076 | 0
Misgeach | Scotland | Conon Shin Affric Beauly | 0.35 | 0.35 | 2027-03-31 |  | 0.35 | 0 | 0.35 | 0
Mossford | Scotland | Conon Shin Affric Beauly | 18.66 | 18.66 | 2027-03-31 |  | 18.66 | 0 | 18.66 | 0
Mullardoch | Scotland | Conon Shin Affric Beauly | 2.4 | 2.4 | 2027-03-31 |  | 2.4 | 0 | 2.4 | 0
Orrin | Scotland | Conon Shin Affric Beauly | 18 | 18 | 2027-03-31 |  | 18 | 0 | 18 | 0
Orrin Dam | Scotland | Conon Shin Affric Beauly | 0.26 | 0.26 | 2027-03-31 |  | 0.26 | 0 | 0.26 | 0
Shin | Scotland | Conon Shin Affric Beauly | 18.6 | 18.6 | 2027-03-31 |  | 18.6 | 0 | 18.6 | 0
Shin Diversion | Scotland | Conon Shin Affric Beauly | 0.1 | 0.1 | 2027-03-31 |  | 0.1 | 0 | 0.1 | 0
Torr Achilty | Scotland | Conon Shin Affric Beauly | 15 | 15 | 2027-03-31 |  | 15 | 0 | 15 | 0
Vaich | Scotland | Conon Shin Affric Beauly | 0.32 | 0.32 | 2027-03-31 |  | 0.32 | 0 | 0.32 | 0
Ceannacroc | Scotland | Great Glen Foyers | 20 | 20 | 2027-03-31 |  | 20 | 0 | 20 | 0
Cluanie | Scotland | Great Glen Foyers | 0.3 | 0.3 | 2027-03-31 |  | 0.3 | 0 | 0.3 | 0
Dundreggan Dam | Scotland | Great Glen Foyers | 0.16 | 0.16 | 2027-03-31 |  | 0.16 | 0 | 0.16 | 0
Foyers Falls | Scotland | Great Glen Foyers | 5.02 | 5 | 2027-03-31 |  | 5.02 | 0 | 5.2 | -0.18
Glendoe | Scotland | Great Glen Foyers | 100 | 100 | 2028-11-01 |  | 100 | 0 | 100 | 0
Glenmoriston | Scotland | Great Glen Foyers | 37 |  | n/a | Yes | 37 | 0 | 37 | 0
Invergarry | Scotland | Great Glen Foyers | 20 | 20 | 2027-03-31 |  | 20 | 0 | 20 | 0
Invergarry Dam | Scotland | Great Glen Foyers | 0.3 | 0.3 | 2027-03-31 |  | 0.3 | 0 | 0.237 | 0.063
Kingairloch | Scotland | Great Glen Foyers | 3.5 | 3.5 | 2027-03-31 |  | 3.5 | 0 | 3.5 | 0
Livishie | Scotland | Great Glen Foyers | 15 | 15 | 2027-03-31 |  | 15 | 0 | 15 | 0
Loyne | Scotland | Great Glen Foyers | 0.55 | 0.55 | 2027-03-31 |  | 0.55 | 0 | 0.55 | 0
Morar | Scotland | Great Glen Foyers | 0.8 | 0.8 | 2027-03-31 |  | 0.8 | 0 | 0.75 | 0.05
Mucomir (inc Compset) | Scotland | Great Glen Foyers | 1.95 |  | n/a |  | 1.95 | 0 | 1.95 | 0
Quoich | Scotland | Great Glen Foyers | 18.1 | 18.1 | 2027-03-31 |  | 18.1 | 0 | 18.05 | 0.05
Quoich Dam | Scotland | Great Glen Foyers | 0.35 | 0.35 | 2027-03-31 |  | 0.35 | 0 | 0.35 | 0
Cashlie | Scotland | Tummel Breadalbane | 11 | 11 | 2027-03-31 |  | 11 | 0 | 11 | 0
Clunie Dam | Scotland | Tummel Breadalbane | 0.15 | 0.15 | 2027-03-31 |  | 0.15 | 0 | 0.15 | 0
Clunie Power Station | Scotland | Tummel Breadalbane | 61.2 |  | n/a | Yes | 61.2 | 0 | 61.2 | 0
Cuaich | Scotland | Tummel Breadalbane | 2.5 | 2.5 | 2027-03-31 |  | 2.5 | 0 | 2.5 | 0
Dalchonzie | Scotland | Tummel Breadalbane | 4 | 4 | 2027-03-31 |  | 4 | 0 | 4 | 0
Errochty | Scotland | Tummel Breadalbane | 75 |  | n/a | Yes | 75 | 0 | 75 | 0
Finlarig | Scotland | Tummel Breadalbane | 16.5 | 16.5 | 2027-03-31 |  | 16.5 | 0 | 16.5 | 0
Gaur | Scotland | Tummel Breadalbane | 7.9 | 7.9 | 2027-03-31 |  | 7.9 | 0 | 7.9 | 0
Lednock | Scotland | Tummel Breadalbane | 3 | 3 | 2027-03-31 |  | 3 | 0 | 3 | 0
Loch Ericht | Scotland | Tummel Breadalbane | 2.2 | 2.2 | 2027-03-31 |  | 2.2 | 0 | 2.2 | 0
Lochay Compset | Scotland | Tummel Breadalbane | 2 | 2 | 2027-03-31 |  | 2 | 0 | 2 | 0
Lochay FishPass | Scotland | Tummel Breadalbane | 0.04 | 0.04 | 2027-03-31 |  | 0.04 | 0 | 0.04 | 0
Lochay Power Station | Scotland | Tummel Breadalbane | 45 |  | n/a | Yes | 45 | 0 | 45 | 0
Lubreoch | Scotland | Tummel Breadalbane | 4 | 4 | 2027-03-31 |  | 4 | 0 | 4 | 0
Pitlochry | Scotland | Tummel Breadalbane | 15 | 15 | 2027-03-31 |  | 15 | 0 | 15 | 0
Pitlochry Compset | Scotland | Tummel Breadalbane | 0.05 | 0.05 | 2027-03-31 |  | 0.05 | 0 | 0.05 | 0
Rannoch | Scotland | Tummel Breadalbane | 45 |  | n/a | Yes | 45 | 0 | 44.1 | 0.9
St Fillans | Scotland | Tummel Breadalbane | 16.83 | 16.83 | 2027-03-31 |  | 16.83 | 0 | 16.83 | 0
Stronuich | Scotland | Tummel Breadalbane | 0.18 | 0.18 | 2027-03-31 |  | 0.18 | 0 | 0.18 | 0
Trinafour | Scotland | Tummel Breadalbane | 0.55 | 0.55 | 2027-03-31 |  | 0.55 | 0 | 0.55 | 0
Tummel | Scotland | Tummel Breadalbane | 38 | 0 | n/a | Yes | 34 | 4 | 34 | 0
Truim compset | Scotland | Tummel Breadalbane |  |  | n/a |  |  | 0 |  | 0
Allt na Lairige | Scotland | Sloy Awe | 6 | 6 | 2027-03-31 |  | 6 | 0 | 6 | 0
Awe Barrage | Scotland | Sloy Awe | 0.86 | 0.86 | 2027-03-31 |  | 0.86 | 0 | 0.886 | -0.026
Clachan | Scotland | Sloy Awe | 40 |  | n/a | Yes | 40 | 0 | 40 | 0
Inverawe | Scotland | Sloy Awe | 25 |  | n/a | Yes | 25 | 0 | 25 | 0
Kilmelford Compset | Scotland | Sloy Awe | 0.08 | 0.08 | 2027-03-31 |  | 0.08 | 0 | 0.08 | 0
Kilmelford | Scotland | Sloy Awe | 2 | 2 | 2027-03-31 |  | 2 | 0 | 2 | 0
Loch Gair | Scotland | Sloy Awe | 6 | 6 | 2027-03-31 |  | 6 | 0 | 6 | 0
Lussa | Scotland | Sloy Awe | 2.4 | 2.4 | 2027-03-31 |  | 2.4 | 0 | 2.4 | 0
Lussa Comp Set | Scotland | Sloy Awe |  |  | n/a |  |  | 0 |  | 0
Nant | Scotland | Sloy Awe | 15 | 15 | 2027-03-31 |  | 15 | 0 | 15 | 0
Sloy | Scotland | Sloy Awe | 152.5 |  | n/a | Yes | 152.5 | 0 | 152.5 | 0
Sron Mor | Scotland | Sloy Awe | 4 | 4 | 2027-03-31 |  | 4 | 0 | 5 | -1
Striven | Scotland | Sloy Awe | 8 | 8 | 2027-03-31 |  | 8 | 0 | 8 | 0
Tralaig | Scotland | Sloy Awe | 0.084 | 0.084 | 2027-03-31 |  | 0.084 | 0 | 0.084 | 0
Chliostair | Scotland | Small Hydro | 1.2 | 1.2 | 2027-03-31 |  | 1.2 | 0 | 1.1 | 0.1
Claddoch | Scotland | Small Hydro | 0.21 | 0.21 | 2027-03-31 |  | 0.21 | 0 | 0.21 | 0
Gisla | Scotland | Small Hydro | 0.65 | 0.65 | 2027-03-31 |  | 0.65 | 0 | 0.72 | -0.07
Kerry Falls | Scotland | Small Hydro | 1.25 | 1.25 | 2027-03-31 |  | 1.25 | 0 | 1.25 | 0
Loch Dubh | Scotland | Small Hydro | 1.2 | 1.2 | 2027-03-31 |  | 1.2 | 0 | 1.2 | 0
Nostie Bridge | Scotland | Small Hydro | 1.25 | 1.25 | 2027-03-31 |  | 1.25 | 0 | 1.3 | -0.05
Nostie Comp Set | Scotland | Small Hydro |  |  | n/a |  |  | 0 |  | 0
Storr Lochs | Scotland | Small Hydro | 2.4 | 2.4 | 2027-03-31 |  | 2.4 | 0 | 1.8 | 0.6
Total Conventional Hydro |  |  | 1164.025 | 502.355 |  |  | 1160.025 | 4 | 1159.198 | 0.827
Foyers | Scotland | Pumped Storage | 300 | n/a | n/a | Yes
Pump Storage |  |  | 300
Battery Energy Storage System / Solar | Location | Cascade | Installed MW | ROC contract | ROCS end date | Eligible to Enter Capacity Market on an Ongoing Basis*
Salisbury BESS | England | NA | 50 | n/a | n/a | See notes ***
Ferrybridge BESS | England | NA | 150
Littleton Solar | England |  | 31
Total BESS |  |  | 231 | 0
Notes
Prepared on best endeavours basis
Registered capacity will be higher that GB capacity market capacity due to its de-rating factor applied each year
*Capacity market relates to either T-1 or T-4 capacity market auction
*Tummel capable of 40MW during optimal conditions
**Hydro assets with ROCS ending March-27 qualify to apply for capacity market in contract year 2027/2028 onwards subject to award
***15year capacity agreement for 20MW of derated capacity

## Ren. Output
SSE Renewables Output | Notes | Full year to 31/03/2026 | Full year to 31/03/2025 | Full year to 31/03/2024
Renewable Summary Totals |  | GWh | GWh | GWh
Hydro and Pumped Storage |  | 3075 | 3270.4 | 3386.3
Onshore wind (including compensated constrained off GB volumes) |  | 6813.4 | 6011.637 | 4593.4
Offshore wind (including compensated constrained off GB volumes) |  | 4572.9 | 3878.051 | 3178.2
Solar & Battery Gross Output |  | 46.1 | 46 | 0
Total output (including compensated constrained off GB volumes) |  | 14507.4 | 13206.088 | 11157.9
HYDRO |  | GWh | GWh | GWh
Conventional Hydro Output |  | 2795 | 2946 | 3071.4
Foyers Gross Generation |  | 280 | 324.4 | 314.9
ONSHORE |  | GWh | GWh | GWh
Achany |  | 87.8 | 84.1 | 91.4
Artfield Fell & Balmurrie Fell |  | 63.8 | 53.4 | 33.7
Bhlaraidh |  | 292.1 | 301.6 | 255.1
Clyde |  | 762.4 | 712.9731 | 652.4
Cathkin Braes |  | 8.9 | 8.8 | 7.3
Drumderg |  | 67.6 | 64 | 62.7
Dunmaglass |  | 154.7 | 133.9674 | 139.6
Fairburn |  | 92 | 84 | 79.4
Gordonbush |  | 219.7 | 207 | 197
Gordonbush extension |  | 116.3 | 112.4 | 123
Griffin & Calliacher |  | 359.5 | 346.1 | 332
Hadyard Hill |  | 127.7 | 222.2 | 222.7
Keadby |  | 158.1 | 143.3 | 155.2
Spurness |  | 42 | 39.3 | 33.2
Strathy North |  | 188.1 | 198.1 | 179.1
Stronelairg |  | 380.7 | 373.9965 | 336.1
Tangy |  | 36 | 30.5 | 31.9
Toddleburn |  | 63.1 | 63.7 | 58.6
Viking |  | 1780.2 | 1267.6 | 0
Total UK mainland |  | 5000.7 | 4447.037 | 2990.4
Bessy Bell |  | 14.7 | 16 | 17.2
Glenconway |  | 87 | 76.7 | 86.5
Slieve Kirk |  | 52.3 | 59.5 | 60.4
Tievenameenta |  | 83.5 | 71.7 | 86.4
Total Northern Ireland |  | 237.5 | 223.9 | 250.5
Athea |  | 62 | 60.1 | 72.4
Bindoo |  | 97.4 | 88.8 | 90
Boggeragh | ROI JV operated by 3rd party | 63.5 | 69 | 73.1
Coomacheo |  | 94.4 | 98.7 | 108.1
Coomatalin |  | 17.2 | 16.8 | 20
Corneen |  | 9.3 | 5.5 | 5.7
Culliagh |  | 27.2 | 24.4 | 26.4
Curragh |  | 48.5 | 48.1 | 55.3
Dromada |  | 60.9 | 63.5 | 68.6
Dunneill |  | 15.9 | 16.6 | 15
Galway (CGT) - Uggool |  | 171.6 | 168.1 | 175.8
Galway (CGT) - Cloosh |  | 82.6 | 72.7 | 75.2
Gartnaneane |  | 30 | 32.1 | 33.7
Kingsmountain |  | 47.7 | 49.3 | 49.2
Knockstanna |  | 10.7 | 5.4 | 9.7
Lenalea |  | 31.6 | 31.2 | 20.4
Leanamore |  | 52 | 50 | 57
Midas | ROI JV operated by 3rd party | 34.3 | 22.6 | 35.4
Meenbog |  | 41 | 33.6 | 32.8
Meentycat |  | 156.7 | 168.5 | 154.8
Mullananalt |  | 18.3 | 18.3 | 18.2
Rathcahill |  | 25.9 | 28.4 | 37
Richfield |  | 66.2 | 56.2 | 59.8
Tournafulla 1 & 2 |  | 55.3 | 49.6 | 58.9
Yellow River |  | 181.2 | 46.3
Total Ireland |  | 1501.4 | 1323.8 | 1352.5
Chaintrix |  | 62.2 | 16.9 | 0
Jubera |  | 11.6
Total International |  | 73.8 | 16.9 | 0
SSE Total Onshore Wind |  | 6813.4 | 6011.637 | 4593.4
OFFSHORE |  | GWh | GWh | GWh
Seagreen |  | 2233.2 | 2249.051 | 1452.9
Beatrice |  | 803.9 | 851.6 | 787.4
Greater Gabbard |  | 908 | 702.4 | 934.9
Dogger Bank A |  | 624.3 | 75 | 3
Dogger Bank B |  | 3.5
SSE Total Offshore Wind |  | 4572.9 | 3878.051 | 3178.2
COMPENSATED CONSTRAINTS (already included in above output) |  | GWh | GWh | GWh
Onshore |  | 1672.2 | 1289.5 | 529.7
Offshore |  | 1445.7 | 1748.2 | 701.2
Total Compensated Constraints |  | 3117.9 | 3037.7 | 1230.9
SOLAR & BATTERY (GROSS GENERATION) |  | GWh | GWh | GWh
Salisbury |  | 43.5 | 46 | 0
Littleton Solar |  | 2.6
Total Solar & Battery Gross Generation |  | 46.1 | 46 | 0
Notes
Electricity output based on SSE 100% share of wholly owned sites and % share of joint ventures
Wind output is at each station is gross of constrained off generation and all actual renewable output is recorded post transmission loss adjustment factor; ROCs generation is based on entire station output
Biomass output at Slough is excluded and reported by SSE Thermal

## Ren. Pipeline
SSE Renewables Project Pipeline
Accurate as at March 2026
Pipeline by stage | SSE share (MW) | Secured pipeline by technology |  | SSE share (MW) | Secured pipeline by Geography |  | SSE share (MW)
In construction | 2369.7 | Onshore wind |  | 2785 | GB |  | 12826.5
Late-stage development | 9193.5 | Offshore wind |  | 8887.5 | Ireland |  | 1883
Early-stage development | 8863.5 | Hydro |  | 2337.5 | South. Europe |  | 1656
|  | Solar and Battery |  | 4047 | Poland |  | 653
[5 empty] | Netherlands |  | 1038.5
Total secured pipeline | 18057 | Total secured pipeline |  | 18057 | Total secured pipeline |  | 18057 | 0
Project | Technology | Location | Capacity (MW) | SSE Share (%) | SSE Share (MW) | Partner | Notes
Aberarder | Onshore Wind | GB | 50.4 | 100% | 50.4 | n/a | 100% under 15-year indexed CfD secured at £52.29/MWh in 2012 prices
Strathy South | Onshore Wind | GB | 208 | 100% | 208 | n/a | 100% under 15-year indexed CfD secured at £52.29/MWh in 2012 prices
Drumnahough | Onshore Wind | Ireland | 58 | 50% | 29 | n/a
Puglia | Onshore Wind | Italy | 17.3 | 100% | 17.3 | n/a
Tuturano | Onshore Wind | Italy | 10.4 | 100% | 10.4 | n/a
Minguez | Onshore Wind | Spain | 19.9 | 100% | 19.9 | n/a
Portal Rubio | Onshore Wind | Spain | 24.7 | 100% | 24.7 | n/a
Derrymeen | Solar and Battery | Ireland | 100 | 100% | 100 | n/a
Monk Fryston | Solar and Battery | GB | 320 | 100% | 320 | n/a
Fiddlers Ferry | Solar and Battery | GB | 150 | 100% | 150 | n/a
Dogger Bank A | Offshore Wind | GB | 1200 | 40% | 480 | Equinor & Vargronn | 100% under 15-year indexed CfD secured at £39.65/MWh in 2012 prices
Dogger Bank B | Offshore Wind | GB | 1200 | 40% | 480 | Equinor & Vargronn | 100% under 15-year indexed CfD secured at £41.61/MWh in 2012 prices
Dogger Bank C | Offshore Wind | GB | 1200 | 40% | 480 | Equinor & Vargronn | 100% under 15-year indexed CfD secured at £41.61/MWh in 2012 prices
Total in construction |  |  |  |  | 2369.7
Berwick Bank | Offshore Wind | GB | 4100 | 100% | 4160 | n/a
Seagreen 1A | Offshore Wind | GB | 500 | 49% | 253 | TotalEnergies
Lely | Offshore Wind | Netherlands | 2077 | 50% | 1038.5 | APG
Bhlaraidh Ext | Onshore Wind | GB | 90 | 100% | 90 | n/a
Cloiche | Onshore Wind | GB | 130 | 100% | 130 | n/a | 100% under 15-year indexed CfD secured at £52.29/MWh in 2012 prices
Tangy Repower | Onshore Wind | GB | 91 | 100% | 91 | n/a
Achany Extension | Onshore Wind | GB | 71 | 100% | 71 | n/a
Southern Europe | Onshore Wind | Greece | 33 | 100% | 33 | n/a
Coire Glas | Hydro | GB | 1440 | 100% | 1440 | n/a
Staythorpe BESS | Solar and Battery | GB | 437 | 100% | 437 | n/a
Tinnycross | Solar and Battery | Ireland | 120 | 100% | 120 | n/a
Mullafarry | Solar and Battery | Ireland | 80 | 100% | 80 | n/a
Daines | Solar and Battery | GB | 600 | 100% | 600 | n/a
Eggborough | Solar and Battery | GB | 550 | 100% | 550 | n/a
Staythorpe Solar Phase 1 | Solar and Battery | GB | 100 | 100% | 100 | n/a
Total late-stage development |  |  |  |  | 9193.5
Arklow Bank | Offshore Wind | Ireland | 800 | 100% | 800 | n/a
North Falls | Offshore Wind | GB | 900 | 50% | 450 | RWE | Greater Gabbard Extension
Ossian | Offshore Wind | GB | 3528 | 40% | 1428 | CIP & Marubeni | ScotWind auction lease
Dogger Bank D | Offshore Wind | GB | 1450 | 50% | 758 | n/a
Other GB | Onshore Wind | GB | 218 | 100% | 218 | n/a
Ireland | Onshore Wind | Ireland | 883 | 50%-100% | 883 | See notes | various including FEI JV, Bord na Mona JV, Crumhach
Fearna | Hydro | GB | 1795 | 50% | 897.5 | n/a
Southern Europe (various) | Onshore Wind | South. Europe | 1269 | 100% | 1269 | n/a | Spain, Italy, Greece, France
Southern Europe (various) | Solar and Battery | South. Europe | 349 | 100% | 354 | n/a | Spain, Greece, Italy
Other GB Solar & Battery | Solar and Battery | GB | 1185 | 100% | 1135 | n/a | Two Harts, Shepway ,Ranby, Staythorpe Phase 2, Southery
Other IRL Solar | Solar and Battery | GB | 18 | 100% | 18 | n/a | Richfield Solar
Poland Solar | Solar and Battery | Poland | 653 | 100% | 653 | DSA with Optisol, IBC
Total early-stage development |  |  |  |  | 8863.5
Total Secured Pipeline |  |  |  |  | 18057
Notes
All capacities are subject to change as projects refined.
Reflects ownership and development status as at March 2026
Onshore includes solar hybridisation
Late-stage is consented in GB and land or grid security elsewhere, early-stage has land/seabed rights in GB and some security over planning to land elsewhere

## Thermal Assets & Pipeline
SSE Thermal Capacity
Accurate as at 31 March 2026
| Summary totals | MW
| GB gas- and oil-fired | 5537.6
| Irish gas- and oil-fired | 672
| Energy from waste / Biomass | 42.5
| Coal-fired | zero
| Total Thermal generating capacity | 6252.1
| Capacity in development | MW
| CCS and Hydrogen projects | 2581
| Other | 470
| Total Low-Carbon in development | 3051
| Total Hydrogen Production in development | 195.5
SSE Thermal Capacity
| Asset | Location | Technology | SSE ownership | Partners | Capacity (MW) | SSE Capacity Share at March 2026 | Eligible for Capacity Market | Commercial Year | Capacity Obiligation until | Corrected LHV Efficiency (FY25) | Notes
Great Britain capacity
| Keadby 1 | England | CCGT | 100% |  | 732 | 732 | Yes | 1996 | 1930-09-01 | 55%
| Keadby OCGT | England | OCGT | 100% |  | 23 | 23 | Yes | 2000 | 1930-09-01 | 32%
| Keadby 2 | England | CCGT | 100% |  | 893 | 893 | Yes | 2023 | 16 Years commencing October 2022 | 62.4% | FEED study underway for potential hydrogen blending
| Medway | England | CCGT | 100% |  | 735 | 735 | Yes | 1995 | 2029-09-01 | 54%
| Peterhead | Scotland | CCGT | 100% |  | 1180 | 1180 | Yes | Repowered 2000 | 2029-09-01 | 56%
| Seabank | England | CCGT | 50% | CK Infrastructure Holdings Limited | 1234 | 617 | Yes | 2000 | 1930-09-01 | Around 55% | Third party has offtake agreement for 100% of output from Sept 2021
| Marchwood | England | CCGT | 50% | Munich Re | 920 | 460 | Yes | 2010 | 1930-09-01 | 58% | SSE has offtake agreement for 100% of output
| Burghfield | England | OCGT | 100% |  | 45 | 45 | Yes | 1999 | 2029-09-01 | 38%
| Chickerell | England | OCGT | 100% |  | 45 | 45 | Yes | 1999 | 2029-09-01 | 38%
| Saltend | England | CCGT & CHP | 50% | Equinor | 1200 | 600 | Yes | 2000 | 1930-09-01 | 54% | Acquired September 2022, potential for hydrogen blending
| Indian Queens | England | Oil Fired | 50% | Equinor | 140 | 70 | Yes | 1996 | 1930-09-01 | 29% | Acquired September 2022
| Slough CHP | England | Biomass | 100% |  | 15 | 15 | N/A | 2001 | - | 23% | Previously represented under SSE Enterprise
| Slough Multifuel | England | Waste to Energy | 50% | Copenhagen Infrastructure Partners | 55 | 27.5 | Yes | 2024 | 2030-09-01 | 28% | First Commercial operation in 01/10/2024
| Total Great Britain |  |  |  |  | 7147 | 5442.5
Irish capacity
| Great Island | Ireland | CCGT | 100% |  | 464 | 464 | Yes | 2014 | 1930-09-01 | 58%
| Rhode | Ireland | Oil Fired | 100% |  | 104 | 104 | Yes | 2004 | 1930-09-01 | 34%
| Tawnaghmore | Ireland | Oil Fired | 100% |  | 104 | 104 | Yes | 2003 | 1930-09-01 | 34%
| Total Ireland |  |  |  |  | 672 | 672
| Total gas- and oil-fired capacity owned by SSE Thermal | [5 empty] | 6114.5
Gas storage capacity
| Aldbrough Gas Storage | England | Gas storage | 67% | Equinor | - | - | No | 2011 |  |  | 74mTh of storage capacity (SSE share)
| Atwick Gas Storage | England | Gas storage | 100% |  | - | - | No | 1979 |  |  | 118mTh of storage capacity
| Total | [10 empty] | 192mTh of storage capacity (SSE share)
| New-build Low-Carbon Development Projects and Opportunities | [5 empty] | See note 6
| Keadby 3 Carbon Capture | England | CCGT with CCS | 50% | Equinor | 910 | 455 | Yes, but primary route DPA | na |  | na | Fully consented
| Peterhead Carbon Capture | Scotland | CCGT with CCS | 50% | Equinor | 910 | 455 | Yes, but primary route DPA | na |  | na | FEED study underway
| Keadby Next Generation | England | CCGT with Hydrogen | 50% | Equinor | 892 | 446 | Yes | na |  | na
| Ferrybridge Next Generation | England | CCGT or OCGT with CCS / H2 | 100% |  | 1200 | 1200 | Yes | na |  | na
| Aldbrough Hydrogen Pathfinder | England | OCGT with Hydrogen | 50% | Equinor | 50 | 25 | Yes | na |  | na | 35MW PEM Electrolyser, 20GWh storage cavern and 50MW OCGT progressing through Net Zero Hydrogen Fund process
| Tarbert Next Generation | Ireland | OCGT with Biofuel | 100% |  | 300 | 300 | Yes | na |  | na | 10-year capacity agreement in Irish T-4 Capacity Auction, to commence in 2028/29
| Platin | Ireland | OCGT with Biofuel | 100% |  | 170 | 170 | Yes | na |  | na | 10-year capacity agreement in Irish T-4 Capacity Auction, to commence in 2028/29
| Total | [5 empty] | 3051
| New-build Hydrogen Production and Storage Projects and Opportunities |  |  |  |  | MWe
| Aldbrough Hydrogen Storage | England | Hydrogen Storage | 50% | Equinor | - | - | No | na |  | na | Expected 320GWh Hydrogen storage capacity (for 100% of site)
| Aldbrough Hydrogen Pathfinder | England | Hydrogen Storage | 50% | Equinor | - | - | Yes | na |  | na | 35MWe PEM Electrolyser, 20GWh storage cavern and 50MW OCGT progressing through Net Zero Hydrogen Fund process
| H2NorthEast - Phase 1 | England | H2 Production | 50% | Kellas Midstream | 355 | 177.5 | No | na |  | na | Blue hydrogen production facility in Teesside - 355MW in phase one, 1GW phase two
| Aldbrough Hydrogen Pathfinder | England | H2 Production | 50% | Equinor | 35 | 18 | Yes | na |  | na | 35MW PEM Electrolyser, 20GWh storage cavern and 50MW OCGT progressing through Net Zero Hydrogen Fund process
| Ferrybridge Hydrogen - Phase 1 | England | H2 Production | 100% |  | 50 | 50 | No | na |  | na | Impariment HY25
| Total | [5 empty] | 195.5
Recent Disposals/Closures
| Tarbert | Ireland | Oil | 100% |  | 620 | 620 | Yes | 1970/1976 |  | n/a | Required to close by end of December 2023
| Ferrybridge Multifuel | England | Waste to Energy | 50% | Wheelabrator | 69 | 34 | Yes | 2015 |  | n/a | Sold October 2020
| Ferrybridge Multifuel 2 | England | Waste to Energy | 50% | Wheelabrator | 69 | 34 | Yes | 2019 |  | n/a | Sold October 2020
| Skelton Grange | England | Waste to Energy | 50% | Wheelabrator | 44 | 22 | No | na |  |  | Development project, sold October 2020
| Ferrybridge | England | Coal | 100% |  | closed | 0 | No | Closed March 2016 |  | n/a | Was 2GW when fully operational
| Fiddlers Ferry | England | Coal | 100% |  | closed | 0 | No | Closed March 2020 |  | n/a | Was 2GW when fully operational
Notes
1 | Prepared on best endeavours basis
2 | Capacities for are as per published Transmission Entry Capacity (TEC) where available, with an estimate provided for development opportunities without grid offers
3 | Corrected LHV efficiency based on energy sent out at peak efficiency, and corrected for site-specific ambient conditions
4 | CCGT : Combined Cycle Gas Turbine; OCGT Open Cycle Gas Turbine
6 | Project pipeline capacity does not necessarily relate to incremental capacity and may include repurposing
5 | Some smaller sites are not part of SSE's Thermal operations and are operated by SSEN Distribution or Distributed Energy
| Thermal Capacity Operated by SSEN Distribution | Location | Technology | Ownership |  | Installed Capacity (MW) | SSE Capacity Share at Sep '23 | Eligible for Capacity Market
| Lerwick | Scotland | Oil Fired | 100% |  | 67 | 67 | Yes
| Island Diesels | Scotland | Oil Fired | 100% |  | 70.6 | 70.6 | Yes
| Total | [5 empty] | 137.6

## Thermal Output
| SSE Thermal Output |  | Full year to 31/03/2026 | Full year to 31/03/2025 | Full year to 31/03/2024 | Full year to 31/03/2023 | Full year to 31/03/2022 | Full year to 31/03/2021 | Full year to 31/03/2020 | Full year to 31/03/2019 | Full Year to 31/03/2018
| Summary totals |  | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh
| GB gas- and oil-fired |  | 13661.9 | 16236.7 | 13597.195 | 16781 | 11302.769 | 15324.3 | 12948.4 | 18323.2591 | 19151
| Irish gas- and oil-fired |  | 1168 | 1405 | 1650 | 1532 | 2962.4 | 2433.1 | 2436.3 | 1860.98 | 2739.145
| Energy from waste |  | 186.2 | 182.4 | 78 | na | na | 251.2 | 395.467 | 293.7 | 289
| Coal-fired |  | na | na | na | na | na | na | 1945.6 | 579.2 | 1461.9
| Total Thermal generating capacity |  | 15016.1 | 17824.1 | 15325.195 | 18313 | 14265.169 | 18008.6 | 17725.767 | 21057.1391 | 23641.045
| SSE Thermal Output |  | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh
GB
| Keadby | 100% | 509.9 | 717.4 | 1154.5 | 2109 | 907.4 | 1863.4 | 1725.3 | 2567.5135 | 2437
| Keadby 2 | 100%, 1,184GWh of pre-commissioning output excluded in FY23 | 3760.2 | 4031.4 | 2873.4 | 0
| Medway | 100% | 181.8 | 613.9 | 1074 | 1640 | 590.1 | 2219.3 | 1306.5 | 1671.0721 | 2204.8
| Peterhead | 100% | 1316.4 | 1718.6 | 1305 | 3435 | 2140 | 3363.1 | 3821.6 | 4739.6933 | 3369.8
| Seabank | 100% of output up to Sept 2021, when offtake agreement expired, and 50% thereafter | 1222 | 1868.9 | 1953.3 | 2388 | 2071.4 | 2896.5 | 2322 | 3402.8852 | 5601.3
| Marchwood | 100% PPAs as per contractual arrangments | 4821.3 | 5105.2 | 2951.6 | 5451 | 5425.8 | 4786.2 | 3623.6 | 5754.795 | 5213.4
| Saltend | Joint aquired with Equinor Sept 2022, 50% share | 1707.3 | 2071.5 | 2161.85 | 1649
| Indian Queens | Joint aquired with Equinor Sept 2022, 50% share | - | - | 0.35 | 2
| Burghfield and Chickerell | 100% | 5.7 | 9.4 | 3.4 | 26 | 19.6 | 37.4 | 28.6 | 25.6 | 21
| CHPs | closed April 2019 |  |  |  | na | na | na | na | 56.7 | 189.7
| Total GB Thermal Business Generation Output (GWh) |  | 13524.6 | 16136.3 | 13477.4 | 16700 | 11154.3 | 15165.9 | 12827.6 | 18218.2591 | 19037
Ireland
| Great Island CCGT |  | 1150.6 | 1368.5 | 1644.7 | 1272 | 2294.2 | 2171.9 | 2327.3 | 1795.48 | 2706.6333
| Tarbert |  |  |  |  | 216 | 592.9 | 246.8 | 102.8 | 54.8 | 25.8147
| Rhode |  | 10.2 | 22.2 | 3.6 | 33 | 60.8 | 11.1 | 5.5 | 6.7 | 5.1059
| Tawnaghmore |  | 7.2 | 14.3 | 1.7 | 11 | 14.5 | 3.3 | 0.7 | 4 | 1.5911
| Total Irish thermal output GWh |  | 1168 | 1405 | 1650 | 1532 | 2962.4 | 2433.1 | 2436.3 | 1860.98 | 2739.145
Energy from Waste & Biomass
| Slough Multifuel | COD 18/08/24 SSE share 50% thereafter [Precommissioned MWh 01/04-17/08 100% 39.7 GWh] | 108.2 | 113.4
| Slough CHP | Reported under SSE Thermal post Enterprise restructuring | 78 | 69 | 78
| Ferrybridge Multifuel | 50% of output until sold in 2020 | na | na | na | na | na | 251.2 | 395.467 | 293.7 | 289
Coal-fired Output
| Fiddlers Ferry | site closed 31 March 2020 | na | na | na | na | na | na | 1945.6 | 579.2 | 1461.9
Notes
1 | Prepared on best endeavours basis
2 | Generation ouput GB is total net exported Metered Data @ NBP (sometimes estimated at period end). Eire is data final as published by Single Electricity Market Operator
| Plant operated by Distribution |  | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh
| Lerwick |  | 120.2 | 92.1 | 110.295 | 78 | 100.8 | 92.2 | 98.8 | 104 | 113
| Small island diesels |  | 17.1 | 8.3 | 9.5 | 3 | 47.669 | 66.2 | 22 | 1 | 1

## GB Cap Payments
SSE Capacity Payment Schedule
| Last Updated | 2026-03-31
[6 empty] | Contract Year 3 (1 October to 30 September) |  |  | SSE Financial Year (1 April to 30 March) |  |  | Multi-Year Contracts
| Delivery Year/ Financial Year | Auction | Contract price £/Kw | Price Basis |  | Totals | Renewables | Thermal | Totals | Renewables | Thermal | Unit | Business Unit | Length of Contract (years) | First Delivery Year | Capacity Obligation (MW) | Clearing Price* (£/kW) | Base Year | Approx Revenue Each Winter (Oct-March) of Contract (£m) | Approx Revenue Each Summer (March-Sept) Of Contract (£m)
| 2017/18 | T-1 | 6.95 |  | Capacity (MW) | 5035.5085 | 840.016 | 4195.4925 |  |  |  | Keadby 2 | Thermal | 15 | 2023/24 | 804 | 15.97 | 2018/19 | 7.0619 | 5.7779
[5 empty] | Value (£million) | 34.9968 | 5.8381 | 29.1587 | 19.0727 | 3.1817 | 15.891 | Slough Multifuel | Thermal | 15 | 2024/25 | 42 | 18 | 2019/20 | 0.4158 | 0.3402
|  | Total |  |  | Capacity (MW) | 5035.5085 | 840.016 | 4195.4925 |  |  |  | Gordonbush Extension | Renewables | 15 | 2024/25 | 3 | 18 | 2019/20 | 0.0297 | 0.0243
[5 empty] | Value (£m) | 34.9968 | 5.8381 | 29.1587 | 19.0727 | 3.1817 | 15.891 | Salisbury Battery | Renewables | 15 | 2025/26 | 20 | 30.59 | 2019/20 | 0.33649 | 0.27531
| 2018/19 | T-4 | 19.4 | p | Capacity (MW) | 4996.49 | 846.814 | 4149.676 |  |  |  | Ferrybridge BESS | Renewables | 15 | 2027/28 | 15 | 65 | 2022/23 | 0.53625 | 0.43875
|  |  | 20.8285 | a | Value (£m) | 104.0695 | 17.6379 | 86.4316 | 57.0493 | 9.6688 | 47.3804 | Fiddlers Ferry BESS | Renewables | 15 | 2027/28 | 15 | 65 | 2022/23 | 0.53625 | 0.43875
|  | T-1 | 6 | p | Capacity (MW) | 1045 |  | 1044.772 |  |  |  | Monk Fryston BESS | Renewables | 15 | 2027/28 | 32 | 65 | 2022/23 | 1.144 | 0.936
[5 empty] | Value (£m) | 6.2686 |  | 6.2686 | 19.3604 | 2.6564 | 16.704 | Inverawe | Renewables | 15 | 2028/29 | 23 | 60 | 2023/24 | 0.759 | 0.621
|  | Total |  |  | Capacity (MW) | 6041.49 | 846.814 | 5194.448 |  |  |  | Littleton | Renewables | 15 | 2028/29 | 1 | 60 | 2023/24 | 0.033 | 0.027
[5 empty] | Value (£m) | 110.3381 | 17.6379 | 92.7002 | 76.4097 | 12.3252 | 64.0844 | Deeside Power Peaking Unit | Thermal External JV | 15 | 2028/29 | 47 | 60 | 2023/24 | 1.551 | 1.269
| 2019/20 | T-4 | 18 | p | Capacity (MW) | 4730.812 | 854.624 | 3876.188
|  |  | 19.2747 | a | Value (£m) | 91.1849 | 16.4726 | 74.7123 | 86.017 | 17.0254 | 68.9916 | * Clearing prices subject to CPI indexation Please see Footnote 12 for confirmation as to how indexation is being allowed for within the table.
|  | T-1 | 0.77 |  | Capacity (MW) | 33.3255 |  | 33.3255
[5 empty] | Value (£m) | 0.025661 |  | 0.025661 | 13.9815 | 0 | 13.9815
|  | Total |  |  | Capacity (MW) | 4764.1375 | 854.624 | 3909.5135
[5 empty] | Value (£m) | 91.2105 | 16.4726 | 74.7379 | 99.9985 | 17.0254 | 82.9731
| 2020/21 | T-4 | 22.5 | p | Capacity (MW) | 4841.5375 | 872.646 | 3968.8915
|  |  | 24.38 | a | Value (£million) | 118.0462 | 21.2768 | 96.7694 | 97.3405 | 19.2051 | 78.1354
|  | T-1 | 1 | p | Capacity (MW)
[5 empty] | Value (£m) |  |  |  | 9.1301 | 0 | 9.1301
|  | Total |  |  | Capacity (MW) | 4841.5375 | 872.646 | 3968.8915
[5 empty] | Value (£m) | 118.0462 | 21.2768 | 96.7694 | 106.4706 | 19.2051 | 87.2655
| 2021/22 | T-4 | 8.4 | p | Capacity (MW) | 4733.24 | 805.599 | 3927.641
|  |  | 9.005 | a | Value (£m) | 43.0802 | 7.2546 | 35.8256 | 76.4946 | 13.505 | 62.9896
|  | T-1 | 45 |  | Capacity (MW) | 74.966 | 74.966
|  |  | 45 |  | Value (£m) | 3.3735 | 3.3735 |  | 1.868 | 1.868 | 0
|  | Total |  |  | Capacity (MW) | 4808.206 | 880.565 | 3927.641
[5 empty] | Value (£m) | 46.4537 | 10.6281 | 35.8256 | 78.3626 | 15.3729 | 62.9896
| 2022/23 | T-3 | 6.44 | p | Capacity (MW) | 3963.1275 | 888.5295 | 3074.598
|  |  | 7.1214 | a | Value (£m) | 27.9854 | 6.0899 | 21.8955 | 34.736 | 6.6128 | 28.1232
|  | T-1 | 75 | p | Capacity (MW) | 2293.266 |  | 2293.266
[5 empty] | Value (£m) | 171.9949 |  | 171.9949 | 96.8298 | 1.5055 | 95.3243
|  | Total |  |  | Capacity (MW) | 6256.3935 | 888.5295 | 5367.864
[5 empty] | Value (£million) | 199.9803 | 6.0899 | 193.8904 | 131.5658 | 8.1183 | 123.4476
| 2023/24 | Multi-Year |  |  | Capacity (MW) | 803.7 |  | 803.7
[5 empty] | Value(£m) | 15.3249 |  | 15.3249 | 8.4089 | 0 | 8.4089
|  | T-4 | 15.97 | p | Capacity (MW) | 3962.9275 | 888.5295 | 3074.398
|  |  | 19.068 | a | Value (£m) | 75.5651 | 16.9425 | 58.6226 | 53.9382 | 12.0112 | 41.927
|  | T-1 | 60 | p | Capacity (MW) | 1503.0239 | 15.7375 | 1487.2863
[5 empty] | Value (£million) | 90.1814 | 0.94425 | 89.2372 | 126.1538 | 0.51812 | 125.6357
|  | Total |  |  | Capacity (MW) | 6269.6514 | 904.267 | 5365.3843
[5 empty] | Value (£m) | 181.0714 | 17.8867 | 163.1847 | 188.5009 | 12.5293 | 175.9716
| 2024/25 | Multi-Year |  |  | Capacity (MW) | 827.868 | 2.968 | 824.9
[5 empty] | Value (£m) | 16.7048 | 0.35701 | 16.3478 | 15.9397 | 0.035833 | 15.9038
|  | T-4 | 18 | p | Capacity (MW) | 4054.0737 | 889.7287 | 3164.345
|  |  | 21.9594 | a | Value (£m) | 89.0251 | 19.5379 | 69.4872 | 83.0469 | 18.3877 | 64.6592
|  | T-1 |  |  | Capacity (MW) | 1411.7237 | 46.2447 | 1365.479
|  |  | 35.79 |  | Value (£m) | 50.5256 | 1.6551 | 48.8705 | 68.4766 | 1.3361 | 67.1405
|  | Total |  |  | Capacity (MW) | 6293.6654 | 938.9414 | 5354.724
[5 empty] | Value (£m) | 156.2555 | 21.55 | 134.7055 | 167.4631 | 19.7596 | 147.7035
| 2025/26 | Multi-Year |  |  | Capacity (MW) | 847.498 | 22.598 | 824.9
[5 empty] | Value(£m) | 17.6139 | 0.81428 | 16.7996 | 17.1913 | 0.48248 | 16.7088
|  | T-4 | 30.59 | p | Capacity (MW) | 4743.2575 | 911.516 | 3831.7415
|  |  | 38.0695 | a | Value (£m) | 180.5735 | 34.701 | 145.8725 | 140.568 | 28.1071 | 112.461
|  | T-1 | 20 |  | Capacity (MW) | 787.7724 | 31.3334 | 756.439
[5 empty] | Value (£million) | 15.7554 | 0.62667 | 15.1288 | 31.515 | 1.0939 | 30.4212
|  | Total |  |  | Capacity (MW) | 6378.5279 | 965.4474 | 5413.0805
[5 empty] | Value (£m) | 213.9429 | 36.1419 | 177.8009 | 189.2744 | 29.6834 | 159.591
| 2026/27 | Multi-Year |  |  | Capacity (MW) | 847.498 | 22.598 | 824.9
[5 empty] | Value (£m) | 13.8706 | 0.65391 | 13.2167 | 15.4407 | 0.72079 | 14.7199
|  | T-4 | 63 | p | Capacity (MW) | 5512.9831 | 905.9593 | 4607.0238
|  |  | 63 | p | Value (£m) | 347.3179 | 57.0754 | 290.2425 | 271.1105 | 46.7816 | 224.3289
|  | T-1 | 5 |  | Capacity (MW) | 57.582 | 57.582 | 0
[5 empty] | Value (£m) | 0.62667 | 0.62667 | 0 | 6.9877 | 0.27793 | 6.7097
|  | Total |  |  | Capacity (MW) | 6418.0631 | 986.1393 | 5431.9238
[5 empty] | Value (£m) | 361.8152 | 58.356 | 303.4592 | 293.5389 | 47.0596 | 245.7586
| 2027/28 | Multi-Year |  |  | Capacity (MW) | 909.556 | 84.656 | 824.9
[5 empty] | Value (£m) | 17.9031 | 4.6864 | 13.2167 | 16.089 | 2.8723 | 12.8351
|  | T-4 | 65 | p | Capacity (MW) | 5598.585 | 1086.053 | 4512.532
|  |  | 65 | p | Value (£m) | 363.908 | 70.5934 | 293.3146 | 356.4425 | 64.5103 | 291.9321
|  | T-1 |  |  | Capacity (MW)
[5 empty] | Value (£million) |  |  |  | 0 | 0 | 0
|  | Total |  |  | Capacity (MW) | 6508.141 | 1170.709 | 5337.432
[5 empty] | Value (£m) | 381.8111 | 75.2798 | 306.5313 | 372.5315 | 67.3826 | 304.7672
| 2028/29 | Multi-Year |  |  | Capacity (MW) | 956.97 | 108.744 | 848.226
[5 empty] | Value (£m) | 20.749 | 6.1328 | 14.6162 | 19.4678 | 5.4814 | 13.9864
|  | T-4 | 60 | p | Capacity (MW) | 5694.1996 | 1213.5957 | 4480.6039
|  |  | 60 | p | Value (£m) | 341.652 | 72.8157 | 268.8362 | 351.6672 | 71.8157 | 279.8515
|  | T-1 |  |  | Capacity (MW)
[5 empty] | Value (£m) |  |  |  | 0 | 0 | 0
|  | Total |  |  | Capacity (MW) | 6651.1696 | 1322.3397 | 5328.8299
[5 empty] | Value (£m) | 362.401 | 78.9485 | 283.4525 | 371.135 | 77.2971 | 293.8379
| 2029/30 | Multi-Year |  |  | Capacity (MW) | 956.97 | 108.744 | 848.226
[5 empty] | Value (£m) | 20.749 | 6.1328 | 14.6162 | 20.749 | 6.1328 | 14.6162
|  | T-4 | 27.1 | p | Capacity (MW) | 3208.8665 | 901.208 | 2307.6585
|  |  | 27.1 | p | Value (£m) | 86.9603 | 24.4227 | 62.5375 | 201.5715 | 46.1996 | 155.372
|  | T-1 |  |  | Capacity (MW)
[5 empty] | Value (£m) |  |  |  | 0 | 0 | 0
|  | Total |  |  | Capacity (MW) | 4165.8365 | 1009.952 | 3155.8845
[5 empty] | Value (£m) | 107.7093 | 30.5555 | 77.1538 | 222.3206 | 52.3324 | 169.9882
Notes
1 | This information is prepared on a best endeavours basis
2 | The table shows the relevant derated capacities and, therefore, will not directly match SSE's published station capacities. Where relevant, the table allows for SSE's equity share of JV capacity contract volumes and income
3 | Capacity Market Contract years are October - September
4 | Clearing price in the t-3 and t-4 auctions are subject to CPI Indexation. The above table allows for adjusted clearing prices as confirmed by EMRS only i.e. up to and including the current Delivery Year. For future years, no assumption is made as to the rate of Indexation that will apply.
5 | Monthly contract payments are weighted according to demand weighting for the relevant month and are calculated by EMRS on behalf of the ESC. The table assumes 55% weighting Oct - March; 45% weighting Apr - Sept for periods still to be confirmed by EMRS
6 | The above table includes Peterhead's contract year 19/20 and 20/21 secured on the secondary market.
7 | Around 1.3GW of conventional and pumped storage hydro capacity and approximately 160MW of Onshore Wind particpates and have been awarded capacity mechanism contracts (before applying a derating adjustment factor)
8 | p (published at time of auction); a (actual based on CPI)
9 | Due to the temporary suspension of GB capacity market payments relating to contract yar 2018/19; Sept 2018 to March 2019 payments were received by SSE in its financial year 2019/20.
10 | More info on the Capacity Market is published on the following website link - https://www.neso.energy/what-we-do/energy-markets/electricity-market-reform-emr-delivery-body/capacity-market

## Ire. Cap Payments
SSE Capacity Payment Schedule
| Last Updated | 2026-03-31
[5 empty] | Contract Year (1 October to 1 October) |  |  | SSE Financial Year (1 April to 31 March) | SSE Financial year | SSE Financial year | Multi-year Contracts
| Delivery Year / Financial Year | Auction | Contract price €/MW |  | Totals | Renewables | Thermal | Totals | Renewables | Thermal | Unit | Business Unit | Length of Contract (years) | First Delivery Year | Capacity Obligation (MW) | Clearing Price* (€ or £/MW) | Annual Revenue Throughout Contract (€/£m)
| 2018/19 | T-1 | 41800 | Capacity (MW) | 1073.776 | 0 | 1073.776 | 22.4419 | 0 | 22.4419 | Platin OCGT | Thermal | 10 | 2028/29 | 139.887 | 176850 | 24.739
|  |  |  | Value (€m) | 44.8838 | 0 | 44.8838 |  |  |  | Tarbert OCGT | Thermal | 10 | 2027/28 | 259.5 | 128660 | 33.3873
|  | Total |  | Capacity (MW) | 1073.776 | 0 | 1073.776 |  |  |  | Derrymeen | Renewables | 10 | 2028/29 | 14.1 | 150000 | 2.115
|  |  |  | Value (€m) | 44.8838 | 0 | 44.8838 |  |  |  | Platin OCGT (Gas) | Thermal | 10 | 2029/30 | 13.293 | 150000 | 1.9939
| 2019/20 | T-1 | 40645.66 | Capacity (MW) | 1115.998 | 12.06 | 1103.938 | 45.1222 | 0.24509 | 44.8771 | Great Island OCGT | Thermal | 5 | 2029/30 | 342.432 | 142620 | 48.8377
|  |  |  | Value (€m) | 45.3605 | 0.49019 | 44.8703
|  | Total |  | Capacity (MW) | 1115.998 | 12.06 | 1103.938
|  |  |  | Value (€m) | 45.3605 | 0.49019 | 44.8703
| 2020/21 | T-1 | 46150 | Capacity (MW) | 1053.747 | 11.007 | 1042.74 | 46.9954 | 0.49908 | 46.4964
|  |  |  | Value (€million) | 48.6304 | 0.50797 | 48.1225
|  | Total |  | Capacity (MW) | 1053.747 | 11.007 | 1042.74
|  |  |  | Value (€m) | 48.6304 | 0.50797 | 48.1225
| 2021/22 | T-2 | 45950 | Capacity (MW) | 1060.793 | 18.055 | 1042.738 | 48.6869 | 0.6688 | 48.0181
|  |  |  | Value (€m) | 48.7434 | 0.82963 | 47.9138
|  | Total |  | Capacity (MW) | 1060.793 | 18.055 | 1042.738
|  |  |  | Value (£m) | 48.7434 | 0.82963 | 47.9138
| 2022/23 | T-4 | 46150 | Capacity (MW) | 589.202 | 0 | 589.202 | 49.0756 | 0.94044 | 48.1351
|  |  |  | Value (€million) | 27.1917 | 0 | 27.1917
|  | T-1 | 46150 | Capacity (MW) | 481.387 | 22.779 | 458.608
|  |  |  | Value (€m) | 22.216 | 1.0513 | 21.1648
|  | Total |  | Capacity (MW) | 1070.589 | 22.779 | 1047.81
|  |  |  | Value (€m) | 49.4077 | 1.0513 | 48.3564
| 2023/24 | T-4 | 46149 | Capacity (MW) | 604.629 | 24.049 | 580.58 | 38.6554 | 1.0805 | 37.5748
|  |  |  | Value (€m) | 27.903 | 1.1098 | 26.7932
|  | T-1 | 146919 | Capacity (MW)
Value (€m)
|  | Total |  | Capacity (MW) | 604.629 | 24.049 | 580.58
|  |  |  | Value (€m) | 27.903 | 1.1098 | 26.7932
| 2024/25 | T-4 | 47820 | Capacity (MW) | 599.155 | 29.307 | 569.848 | 28.2773 | 1.2556 | 27.0217
|  |  |  | Value (€million) | 28.6516 | 1.4015 | 27.2501
|  | T-1 | 147580 | Capacity (MW)
Value (€m)
|  | Total |  | Capacity (MW) | 599.155 | 29.307 | 569.848
|  |  |  | Value (€m) | 28.6516 | 1.4015 | 27.2501
| 2025/26 | T-4 | 46000 | Capacity (MW) | 600.291 | 30.443 | 569.848 | 28.1325 | 1.4009 | 26.7316
|  |  |  | Value (€m) | 27.6134 | 1.4004 | 26.213
|  | T-1 |  | Capacity (MW)
Value (€m)
|  | Total |  | Capacity (MW) | 600.291 | 30.443 | 569.848
|  |  |  | Value (€m) | 27.6134 | 1.4004 | 26.213
| 2026/27 | Multi Year |  | Capacity (MW) | 0 |  | 0 | 38.7339 | 1.9645 | 36.7694
|  |  |  | Value (€million) | 0 |  | 0
|  | T-4 | 83050 | Capacity (MW) | 600.294 | 30.446 | 569.848
|  |  |  | Value (€million) | 49.8544 | 2.5285 | 47.3259
|  | T-1 |  | Capacity (MW)
Value (€m)
|  | Total |  | Capacity (MW) | 600.294 | 30.446 | 569.848
|  |  |  | Value (€m) | 49.8544 | 2.5285 | 47.3259
| 2027/28 | Multi Year |  | Capacity (MW) | 259.5 |  | 259.5 | 70.7282 | 2.3529 | 68.3753
|  |  |  | Value (€million) | 33.3873 |  | 33.3873
|  | T-4 | 106667.67 | Capacity (MW) | 545.763 | 20.411 | 525.352
|  |  |  | Value (€million) | 58.2147 | 2.1772 | 56.0375
|  | T-1 |  | Capacity (MW)
Value (€m)
|  | Total |  | Capacity (MW) | 805.263 | 20.411 | 784.852
|  |  |  | Value (€m) | 91.602 | 2.1772 | 89.4248
| 2028/29 | Multi Year | RoI | Capacity (MW) | 399.387 |  | 399.387 | 116.147 | 3.2096 | 112.9375
|  |  |  | Value (€million) | 58.1263 |  | 58.1263
|  |  | NI | Capacity (MW) | 14.1 | 14.1
|  |  |  | Value (£million) | 2.115 | 2.115
|  | T-4 | 149960 | Capacity (MW) | 533.661 | 11.363 | 522.298
|  |  |  | Value (€million) | 80.0278 | 1.704 | 78.3238
|  | T-1 |  | Capacity (MW)
Value (€m)
|  | Total |  | Capacity (MW) | 947.148 | 25.463 | 921.685
|  |  |  | Value (€m) | 140.6921 | 4.242 | 136.4501
| 2029/30 | Multi Year | RoI | Capacity (MW) | 755.112 |  | 755.112 | 139.4261 | 4.7529 | 134.6732
|  |  |  | Value (€million) | 108.9579 |  | 108.9579
|  |  | NI | Capacity (MW) | 14.1 | 14.1
|  |  |  | Value (£million) | 2.115 | 2.115
|  | T-4 | 135499.99 | Capacity (MW) | 197.079 | 20.411 | 176.668
|  |  |  | Value (€million) | 26.1157 | 2.1772 | 23.9385
|  | T-1 |  | Capacity (MW)
Value (€m)
|  | Total |  | Capacity (MW) | 966.291 | 34.511 | 931.78
|  |  |  | Value (€m) | 137.6116 | 4.7152 | 132.8964
Notes
1 | Prepared on best endeavours basis
2 | Capacities are in line with the de-rating factors published for the relevant auction process, therefore will not directly match SSE's published station capacities
3 | When showing financial year information, the above table aggregates the value of all contracts for the relevant year
4 | The Multi-Year contract in NI will be paid in GBP. A conversion rate of £1:€1.2 has been used in the above table
Note on C46: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Platin and Tarbert both delayed into future CYs.
Note on C54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Platin delayed into future CY.

## Transmission - T2 & T3
Key Parameters | SSEN Transmission RIIO-T2 Agreement April 2021-March 20261 | SSEN Transmission RIIO-T3 Agreement April 2026-March 2031 | Comments
Cost of Equity (real)​ | 4.25% (FDs); 5.09% (2025) | 5.70% (Avg) | Adjusted annually for risk-free rate
Cost of Debt (real)​ | 1.58% (FDs); 2.68% (2025) | 3.84% (Avg) | Adjusted annually for iBoxx GBP non-financials index 10yr+
Gearing ​ | 55% | 55% | Notional rather than actual
WACC (real)​ | 2.8% (FDs); 3.77% (2025) | 4.68% (Avg) | CPIH Inflation added
Capitalisation rate ​ | 77%- baseline totex 85%- Uncertainty Mechanism totex | 55%- baseline totex 85%- Uncertainty Mechanism totex
Totex sharing factor ​ | 64% shared with consumers | 75% shared with consumers2
Notes
Note: The first Price Control Financial Model (PCFM) for RIIO-T3 produced by SSEN Transmission is expected to be published in January 2027
1 - 2025 figures (final year of RIIO-T2) for cost of equity, debt and WACC
2 - Before applying ‘stepped’ mechanism for over/underspend beyond 5% of total totex

## Distribution RIIO ED2
Key Parameters | SSEN Distribution RIIO-T2 Agreement April 2023- March 2028 | Comments
Cost of Equity (real)​ | 5.23% (FDs); 5.50% (Avg) | Adjusted annually for risk-free rate
Cost of Debt (real)​ | 3.0% (FDs); 3.11% (Avg) | Adjusted annually for iBoxx GBP utilities index 10yr+
Gearing ​ | 60% | Notional rather than actual
WACC (real)​ | 3.9%(FDs); 4.07% (Avg) | CPIH Inflation added
Baseline Totex​ | £3.5bn | 20/21 prices
Potential uncertainty mechanism TOTEX​ | £1.1bn
Capitalisation rate ​ | 65-66%- Baseline totex 85%- Uncertainty Mechanism totex | 20/21 prices
Totex sharing factor ​ | 51%
As per 28 January 2026 published PCFM
|  | Allowed Revenue |  |  |  | Tariff set in Dec 2025
SSEN Distribution Revenue​ | Price base​
|  | FY24 | FY25 | FY26 | FY27 | FY28
Fast money ​ | £m 20/21 |  |  |  |  | 291.8
Depreciation​ | £m 20/21 |  |  |  |  | 281.9
Return on RAV​ | £m 20/21 |  |  |  |  | 222
Pass-through expenditure ​ | £m 20/21 |  |  |  |  | 29.7
Other​ | £m 20/21 |  |  |  |  | 17.2
Inflation adjustment​ | £m Nominal |  |  |  |  | 366.5
Legacy allowed Revenue | £m Nominal |  |  |  |  | -4.8
Timing adjustments​ | £m Nominal |  |  |  |  | 56.9
Total revenue​ | £m Nominal | 858.4 | 1333.7 | 927.2 | 1004.4 | 1261.2
TOTEX | £m 20/21 | 670.1 | 811 | 907.3* | 994.6 | 1175.4
Regulated Asset Value​ | £m Nominal | 5341 | 5838 | 6703.7 | 7407.2 | 8435.7
Inflation Assumption​ | RPI - CPIH (FY Average) | 7.26% | 3.215% | 3.98% | 2.35% | 2.03%
Notes
Last published PCFM (30 January PCFM) can be found here: https://www.ofgem.gov.uk/publications/ed2-price-control-financial-model
Timing adjustment represent true ups related to changes made to FY25 and FY26 revenue profile
*Excludes £241m ‘Shetland Link Contribution’